1. Clinical stages of manufacturing partial removable laminar dentures.
2. Laboratory stages of manufacturing partial removable laminar dentures.
3. Classification of clasps.
4. Clinical stages of manufacturing partial dentures with curved wire retaining clasps.
5. Artificial teeth, types.
6. Laboratory stage replacing wax on plastic. Types of gypsum wax compositions in a cuvette (direct, reverse, combined).
7. Clinical stage of checking the design of a removable laminar denture. Checking the wax composition in the occluder (articulator): evaluation on the models of the quality of bending and location of the shoulder, body and shank of the clasp on the tooth and in the base.
8. Preparation of plastic test packing. Polymerization methods.
9. The process of adaptation of patients to prostheses. Instructions to the patient about the rules for using removable dentures, oral hygiene and caring for dentures.
10. Correction of removable dentures. Possible complications when using removable laminar dentures.
11. Plastic acrylic series, as allergic, chemical-toxic and traumatic factors in the development of pathological changes of the mucous membrane of the prosthetic bed. Indications for the manufacture of double-layer bases.
12. . Metallic, metallized bases of laminar prostheses. Indications for use.
13. Causes of failure of plate prostheses and methods for their repairs. Techniques for relining removable laminar dentures.
14. Clinical and functional methods for assessing prosthetic bed tissues. Characteristics of the oral mucosa (Suppli, Lund).
15. Describe the anatomical and physiological method for determining the central ratio of the jaws.
16. Plate prostheses and their structural elements. Borders of the basis of removable laminar denture.
17. Justification of the choice of the number of teeth for fixation of the prosthesis with retaining clasps and patterns of their location in the basis of the prosthesis. The concept of "point", "linear", "flat" arrangement of clasps.
18. Oncological vigilance. Diagnosis of prosthetic stomatitis. Differential diagnosis.
19. Kennedy's classification of dentition defects.
20. Types of thermoplastics used for the manufacture of bases for partial dentures. Indications for use.
21. Methods for determining the central occlusion and the central ratio of the jaws in the partial absence of teeth.
22. Clinical - laboratory stages of manufacturing partial dentures with a metal base.
23. Modeling the basis of the plate prosthesis. Isolation of bone formations (torus, exostoses) in the area of ​​the prosthetic bed.
24. The materials used for the manufacture of bases dentures.